## Mapping
Workset Name | System Name in Model File | System Description | Model iFLS/Package Code
DX_BDA | B-D4xx | Breathe Air | B-D
DX_CDA | D-D4xx | Compressed Air | D-D
DX_CHM | C-S4xx | Chemical Supply | C-S
DX_CKE | C-L4xx | Concentrated Drains | C-L
DX_ELT |  | Cable trays and Busbar | E-S
DX_EXH | A-E4xx | Exhaust | A-X
| A-R4xx | Furnace Recirculation Air
DX_PAW | S-D4xx | Drains | S-D
DX_PG | G-B4xx | Bulk gases | G-B
DX_PKW | P-D4xx | Process Cooling Water | P-D
DX_PS | G-S4xx | Special Gases | G-S
DX_PWI | U-D402xxx | Industrial water | U-D
DX_VAC | V-D4xx | House Vacuum (Handling) | V-D
DX_SLUR | M-S4xx | Slurry Supply | M-S
DX_STB |  | Steel Structure without Clamps | S-T
DX_UPW | U-D4xx | Ultra Pure Water | U-D
DX_PVAC | V-V4xx | Rough Vacuum (High Vacuum) | V-V
DX_RR |  | Cleanroom Partitions | R-R
DX_FND |  | Process Tool Pedestal | F-D
DX_Sub-tool |  | Process Sub-Tools Icons | NO EXPORT
DX_Tool |  | Process Tool Icon | NO EXPORT